## Sheet1
f, from bus number | t, to bus number | r, resistance (p.u.) | x, reactance (p.u.) | b, total line charging susceptance (p.u.) | rateA, MVA rating A (long term rating) | rateB, MVA rating B (short term rating) | rateC, MVA rating C (emergency rating) | ratio, transformer off nominal turns ratio ( = 0 for lines ) | angle, transformer phase shift angle (degrees), positive => delay | initial branch status, 1 - in service, 0 - out of service | minimum angle difference, angle(Vf) - angle(Vt) (degrees) | maximum angle difference, angle(Vf) - angle(Vt) (degrees)
1 | 56 | 0.0001124 | 0.0017839 | 0.0019023 | 18237.2 | 21884.8 | 27355.9 | 0 | 0 | 1 | -360 | 360
1 | 227 | 1.6834e-05 | 0.0001972 | 0.0018075 | 24215.8 | 29058.6 | 36324.4 | 0 | 0 | 1 | -360 | 360
1 | 353 | 3.3503e-05 | 0.00086785 | 0.0046646 | 23233.8 | 27880.6 | 34851 | 0 | 0 | 1 | -360 | 360
353 | 369 | 5.1719e-05 | 0.00082355 | 0.001336 | 22578.8 | 27094.8 | 33868.4 | 0 | 0 | 1 | -360 | 360
1 | 369 | 0.0001633 | 0.0019942 | 0.0020429 | 9080.8 | 10896.8 | 13621.4 | 0 | 0 | 1 | -360 | 360
56 | 518 | 2.3127e-05 | 0.00068273 | 0.0060322 | 28354.4 | 34025 | 42531.8 | 0 | 0 | 1 | -360 | 360
353 | 518 | 0.00051567 | 0.0070725 | 0.010115 | 5060.8 | 6072.8 | 7591.4 | 0 | 0 | 1 | -360 | 360
56 | 353 | 0.00025908 | 0.0023507 | 0.0030101 | 11799.2 | 14159.2 | 17698.9 | 0 | 0 | 0 | -360 | 360
369 | 634 | 0.0001969 | 0.0019527 | 0.0036359 | 11156.4 | 13387.5 | 16735 | 0 | 0 | 1 | -360 | 360
634 | 864 | 0.00041091 | 0.0067744 | 0.16119 | 5431.4 | 6517.6 | 8147.2 | 0 | 0 | 1 | -360 | 360
634 | 656 | 0.00012313 | 0.0016506 | 0.0028735 | 16841.4 | 20209.4 | 25262.6 | 0 | 0 | 1 | -360 | 360
369 | 864 | 0.00292 | 0.04029 | 0.74943 | 1086.4 | 1303.7 | 1629.6 | 0 | 0 | 1 | -360 | 360
656 | 864 | 0.00019271 | 0.0030856 | 0.010511 | 5071.4 | 6085.6 | 7607.1 | 0 | 0 | 1 | -360 | 360
864 | 873 | 2.9353e-05 | 0.00056492 | 0.0015588 | 28748.4 | 34498 | 43123 | 0 | 0 | 1 | -360 | 360
518 | 864 | 7.6245e-05 | 0.0010831 | 0.00336 | 12484 | 14980.8 | 18726.2 | 0 | 0 | 1 | -360 | 360
518 | 873 | 6.158e-05 | 0.00099345 | 0.0019123 | 15114.6 | 18137.2 | 22672.2 | 0 | 0 | 1 | -360 | 360